## Sheet1
Solar Power System Design Check
Solar Panel Details |  |  | Inverter Details |  |  | Storage Battery Details |  |  | Household Requirements
Array Voltage | 24 | V | Size of Inverter | 6500 | W | Battery Bank Voltage | 48 | V | Maximum Power Required | 6000 | W
Panel Voltage | 24 | V | Inverter Efficiency | 98 | % | Battery Individual Capacity | 105 | Ah | Average Power Required | 3500 | W
Panel Power | 250 | W |  |  |  | Number of Batteries | 45 |  | Running Time Per Day | 8 | hrs
Number of Panels | 50 |  |  |  |  | Depth of Discharge | 50 | %
Daily Sunshine | 6 | hrs
Wiring & Connection Losses | 25 | %
Results
Max Solar Power Available | 12500 | W | Inverter Size Required | 6123 | W | Battery Bank Capacity Available | 4725 | Ah | Total kWh Required Per Day | 28 | kWh
Estimated Solar Power Available | 9375 | W |  |  |  | Battery Bank Capacity Usable | 2362.5 | Ah | Total Ah Required Per Day | 2333.3333 | Ah
Solar Power Required | 4666.6667 | W |  |  |  | Battery Bank Capacity Required | 2333.3333 | Ah | Total kWh Produced Per Day | 56.25 | kWh
Charge Controller Required | 10.5 | A |  |  |  | Actual Depth of Discharge | 49.3827 | % | Total Ah Produced Per Day | 4687.5 | Ah
Number of Panel Strings | 1 |  |  |  |  | Number of Batteries Required | 45 |  | kWh Saved Per Month | 1743.75 | kWh/m
Power Per String | 12500 | W |  |  |  | Number of Battery Strings | 4 | Ah | kWh Saved Per Year | 20925 | kWh/y
Panel Connection Type | Series |  |  |  |  | Battery Capacity Per String | 1181.25 | Ah
[6 empty] | Battery Connection Type | Parallel
| Ok |  |  | Ok |  |  | OK |  |  | Ok
All calculations on this sheet are an estimate. Actual results may vary with location, temperature, type and quality of products used.